Ontario Tech University - 5th Floor Fit-Out



SECTION 20 20 00 (R0)
Project No: 25-1098-000

SEPARATE AND IDENTIFIED PRICES 




PART 1 - INSTRUCTIONS TO BIDDERS

1.1. SEPARATE PRICES
1.1.1. Submit requested Separate Prices with the Bid Form or in accordance with the bid requirements by attaching a completed version of this section.
1.1.2. Express requested separate prices as an addition to or deduction from the Stipulated Bid Sum or as no change to the Stipulated Bid Sum.

1.1.3. The Stipulated Bid Sum will not include any additions or deductions shown as separate prices.

1.1.4. The Owner reserves the right to accept or reject any separate price offered.

1.1.5. The Stipulated Bid Sum will be adjusted by the addition or deduction of separate prices accepted by Owner to form the Contract Price.

1.1.6. The Owner may select the Contractor on the basis of the adjusted Stipulated Bid Sum.

1.1.7. Separate prices are for systems and or equipment installed complete in all regards.
1.1.8. Provide the following separate prices:
	No.
	
	Add / (Deduct)

	.1
	Provide duct silencers on discharge duct of fan coil unit where indicated on mechanical drawings.
	


1.2. IDENTIFIED PRICES
1.2.1. Submit requested identified prices with Bid Form and in accordance with the bid requirements.

1.2.2. The Stipulated Bid Sum will include identified prices.

1.2.3. The Owner reserves the right to delete any identified price offered.

1.2.4. The Stipulated Bid Sum may be adjusted by the deduction of identified prices accepted by Owner to form the Contract Price.

1.2.5. The Owner may select the Contractor on the basis of the adjusted Stipulated Bid Sum.

1.2.6. Identified prices are for systems and/or equipment installed and complete in all regards.

1.2.7. Provide the following identified prices:

	No.
	
	Add / (Deduct)

	.1
	Provide an itemized price to provide a Maxiblue (or equivalent) condensate pump. Price to include allowance for a dedicated electrical 120/1/60 feed that would be provided by Division 26.  
	

	.2
	Condensate pumps shall be provide based upon site conditions where gravity drainage is not feasible.
	


END OF SECTION

BPA
PAGE 1


FEBRUARY 18, 2026

